## Slide 1: HUMIDITY MEASUREMENT

## Slide 2: HUMIDITY
Humidity is the amount of water vapor present in the air.
Water vapor is the gaseous state of water and is invisible.
Humidity indicates the likelihood of precipitation, dew, or fog.
Higher humidity reduces the effectiveness of sweating in cooling the body by reducing the rate of evaporation of moisture from the skin.
The amount of water vapor that is needed to achieve saturation increases as the temperature increases.

## Slide 3: Classıfıcatıon of humıdıty
Humidity can be classified into :
Absolute Humidity
Relative Humidity

## Slide 4: ABSOLUTE HUMIDITY
Absolute humidity is the total mass of water vapor present in a given volume of air.
Absolute humidity is the mass of the water vapor , divided by the volume of the air and water vapor .
The absolute humidity changes as air temperature or pressure changes.
Absolute humidity in the atmosphere ranges from near zero to roughly 30 grams per cubic meter when the air is saturated at 30 °C (86 °F).
DR. KADRİYE ÖZLEM HAMALOĞLU
19.11.2018

## Slide 5: RELATIVE HUMIDITY
Relative humidity (RH) is the ratio of the partial pressure of water vapor to the equilibrium vapor pressure of water at a given temperature.
Relative humidity depends on temperature and the pressure of the system of interest.
It requires less water vapor to attain high relative humidity at low temperatures; more water vapour is required to attain high relative humidity in warm or hot air.

## Slide 6: CALCULATION OF RELATIVE HUMIDITY
The relative humidity (RH} of an air–water mixture is defined as the ratio of the partial pressure of water vapor (PH20) in the mixture to the equilibrium vapor pressure of water (P* H20) a flat surface of pure water at a given temperature :
RH = PH20 / P* H20
Relative humidity is normally expressed as a percentage ; a higher percentage means that the air–water mixture is more humid ; a lower percentage means that the air-water mixture is less humid .
The relative humidity is the percent of saturation humidity , generally calculated in relation to saturated vapor density.
Relative Humidity = Actual Vapor Density / Saturation Vapor Density * 100 %
The most common units for vapor density are gm/m3.

## Slide 7: HUMIDITY SENSORS

## Slide 8: RELATIVE HUMIDITY SENSORS
Relative humidity sensors are classified into ceramic, semiconductor, and polymer humidity sensors.
Ceramic Sensing Material
Humidity sensors based on water-phase protonic ceramic materials are used widely in industry and research laboratories.
The adsorbed water condensed on the surface of the materials and protons will be conducted in the formed aquatic layers.
For ionic sensing materials, if the humidity increases, the conductivity decreases and the dielectric constant increases.

## Slide 9: HYGROMETER
A hygrometer is an instrument used for measuring the moisture content in the atmosphere.
Humidity measurement instruments usually rely on measurements of some other quantity such as temperature, pressure, mass or a mechanical or electrical change in a substance as moisture is absorbed.
By calibration and calculation, these measured quantities can lead to a measurement of humidity.
Modern electronic devices use temperature of condensation (the dew point), or changes in electrical capacitance or resistance to measure humidity differences.
Due to humidity, several materials experience a change in physical, chemical and electrical properties.
This property is used in transducer that are designed and calibrated to read relative humidity directly.

## Slide 10: TYPES OF HYGROMETER’S
Classical Hygrometer's
Metal-paper coil type
Hair tension hygrometer
Pyschrometer (wet and dry bulb hygrometer ) : Sling pyschrometer
Chilled mirror dew point hygrometer
Modern Hygrometer's
Capacitive
Resistive
Thermal
Gravimetric

## Slide 11: HAIR HYGROMETER
Hair hygrometer is a type of absorption hydrometer and uses the mechanical humidity sensing technique.
Certain hygroscopic materials such as human hair, animal membranes, wood, paper, etc., undergo changes in linear dimensions when they absorb moisture from their surrounding air. This change in linear dimension is used as the measurement of humidity present in air.

## Slide 12: HAIR HYGROMETER
Human hair is used as the humidity sensor.
The hair is arranged in parallel beam and they are separated from one another to expose them to the surrounding air/atmosphere.
Number of hairs are placed in parallel to increase mechanical strength. This hair arrangement is placed under small tension by the use of a tension spring to ensure proper functioning.
The hair arrangement is connected to an arm and a link arrangement and the link is attached to a pointer pivoted at one end. The pointer sweeps over a humidity calibrated scale.
Human hair has a property that its length increases when it is wet and its length decreases when it goes dry .

## Slide 13: Applıcatıons & DIsadvantageS
APPLICATIONS
These hydrometers are used in the temperature range of 0 ⁰C to 75 ⁰C.
These hydrometers are used in the RH (Relative Humidity) range of 30 to 95%.
DISADVANTAGES
These Hydrometers are slow in response .
If the Hair hydrometer is used constantly, its calibration tends to change.

## Slide 14: Wet & Dry Bulb Hygrometer
A pyschrometer or wet & dry bulb thermometer , consist of two thermometers, one that is kept moist with distilled water on a sock or wick.
At temperatures above freezing point of water, evaporation of water from the wick lowers temperature so that the wet-bulb usually shows a lower temperature than that of the dry-bulb thermometer.
When the air temperature is below freezing , however the wet-bulb is covered with a thin coating of ice and may be warmer than the dry bulb .
Dry-Bulb temperature (DBT): The dry-bulb temperature is the temperature indicated by a thermometer exposed to the air in a placed sheltered from direct solar radiation . The term dry-bulb is customarily added to the temperature to distinguish it from wet-bulb and dew-point temperature.
Wet-Bulb temperature (WBT):The thermodynamic wet-bulb is a thermodynamic property of mixture of air and water vapor . The value indicated by a wet-bulb thermometer often provides an adequate approximation of the thermo-dynamic wet-bulb temperature .

## Slide 15: Slıng Pyschrometer
A sling psychrometer, which uses thermometers attached to a handle or length of rope and spun in the air for about one minute, is sometimes used for field measurements, but is being replaced by more convenient electronic sensors.
A whirling psychrometer uses the same principle, but the two thermometers are fitted into a device that resembles a ratchet or football rattle.

## Slide 16: Applıcatıons & DIsadvantageS
APPLICATIONS
It is used for checking humidity level in airconditioned rooms and installations.
It is used to set and check hair hygrometer.
It is used in the measurement range of 0 to 100% RH.
It is used for measuring wet bulb temperature between 0 ⁰C to 180 ⁰C.
DISADVANTAGES
The measured medium is disturbed due to the act of measurement. The evaporation process at the wet bulb will add moisture to the air.
It cannot be used in automation requirement situations.
It cannot be used for continuous recording purpose.
If the wick is covered with dirt, the wick will become stiff and its water absorbing capacity will reduce, however, a stiff/dirty wick will resume normalcy when boiled in hot water.
Application :-

## Slide 17: Chılled Mırror Optıcal Sensor
Chilled Mirror Dew Point Mirror is chilled until dew is formed. The temperature at which saturation is achieved is determined by observing condensation on a chilled surface (mirror).
Advantages
Very high accuracy & High reliability.
Disadvantages
Need clean mirror & More expensive.

## Slide 18: Capacıtıve Relatıve Humıdıty Sensors
Capacitance increases in value as water molecules are absorbed into its active polymer dielectric.
The change in capacitance is typically 0.2–0.5 pF for a 1% RH change.
Capacitive sensors are characterized by low temperature coefficient, ability to function at high temperatures (up to 200°C), full recovery from condensation, and reasonable resistance to chemical vapors.
The response time ranges from 30 to 60 s for a 63% RH step change. The typical uncertainty of capacitive sensors is ±2% RH from 5% to 95% RH with two-point calibration.

## Slide 19: Resıstıve humıdıty sensors
Resistive humidity sensors measure the change in electrical impedance of a hygroscopic medium such as a conductive polymer, salt, or treated substrate.
The impedance range of typical resistive elements varies from 1 kΩ to 100 MΩ.
The response time for most resistive sensors ranges from 10 to 30 s for a 63% step change.
A distinct advantage of resistive RH sensors is their interchangeability, usually within ±2% RH, which allows the electronic signal conditioning circuitry to be calibrated by a resistor at a fixed RH point. This eliminates the need for humidity calibration standards, so resistive humidity sensors are generally field replaceable.

## Slide 20: Thermal Conductıve Absolute Humıdıty
Measures absolute humidity
When air or gas is dry, it has a greater capacity to “sink” heat. Gets reference value from a thermistor sealed in dry air.
Can withstand temperatures >200°F

## Slide 21: Electrıcal RH Sensors
Capacitance changes with RH
Thin layer of hygroscopic polymer between two capacitance plates
~2% accuracy to 90% RH, then ~3%

## Slide 22: Electrıcal RH Sensors
Resistance changes with RH.
Less accurate
Responds differently to increasing versus decreasing RH
Also a thermistor in this RH/Temperature sensor

## Slide 23: RadIatIon absorptIon hygrometers

## Slide 24: Psychrometrıc chart